## Feuil1
"AIR CONTROL" 240ML FEEDING BOTTLE IN GLASS - SPECIAL NEWBORN TEAT IN SILICONE
|  |  | Reference |  | 105146/149/757/758/759
|  |  | Material |  | GLASS-POLYPROPYLENE-SILICONE
105146 | 105757 | 105758 | Packadging |  | CARDBOARD BOX
[5 empty] | with | without
|  |  | Dimensions |  | H cm: 26,2 | H cm: 23,5
[5 empty] | L cm: 5,6 | L cm: 5
[5 empty] | W cm: 5,6 | W cm: 5
|  |  | Weight |  | Grs: 240 | Grs: 231
105759 |  | 105149
*Non contractual pictures
Description
*Full sterilized at 125°C in electric sterilizer steam or microwave.
*Neutral glass with high thermal and mechanical resistance.
*Cylindrical shape with a diameter not too important.
*Double graduation from 5ml to 5 ml.
*Steps from 30 to 30ml (capacity of a milk pod).
*Equipped with a system (created in 1945): ring, teat and cap.
*Special Newborn teat -rubber- 2 off-centre holes and equipped with the famous 15 air regulators (patent Remond 1967) making the bottle anti-aerophagique.
*Translucent colors: orange, green, blue, pink.
*Full turquoise color.
Advantages for the customer
*Brand used in nurseries.
*Easy cleaning.
*Aging well.
*Special newborn teat with off-centre holes to prevent suffocation due to the arrival of the milk directly into the throat of the child, leaving him no time to swallow.
*15 regulators of air supporting an internal pressure equivalent to external pressure.
*Teat always protected from the outside until the feeding.
*Full sterililzable 120°C in electric sterilizer steam, microwave.
*The only brand offering glass.
*High thermal resistance, not to exceed a temperature variation of 80°C.
Compliance reports
*REPORTS P124136 Documents DE/1 - 2014
*STANDARD EN 14350: Articles of childcare - Articles for liquid feeding.
Part 1: General and mechanical requirements
Part 2: Chemical requirements and tests
*REPORTS P124136 Documents DE/2 - 2014
*REACH - Regulation (EC) N° 552/2009
ANNEX XVII item 23 - CADMIUM
ANNEX XVII items 51&52 - PHTHALATES
*REPORTS P124136 Documents DE/3 - 2014
*Migration of lead, cadmium and total chrome in a feeding bottle.
(By certified laboratory LNE)
Number items per package |  |  | 24
Package weight |  |  | 5KG474
Package dimensions |  |  | H cm: | 24.5
|  |  | L cm: | 35.5
|  |  | W cm: | 24.5
Package volume |  |  | M3: | 0.021309
S.E.B.I.R 54 rue Rouget de Lisle 93697 Pantin cedex - service.export@dbb-remond.fr - www.dbb-remond.fr